| #### Lock Out / Tag Out (LOTO) Procedure Form |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Facilities Management Work Order #: ______________________________________ |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Description of Machine/Equipment or Work: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Building: |  |  |  |  |  |  | Room #: |  |  |  |  |  |  |  |  |  |  |
| Start Date: |  |  |  |  |  |  | End Date: |  |  |  |  |  |  |  |  |  |  |
| Lock # |  | Employee/Contractor (company) Name |  |  |  |  |  |  | Start Date/Signature |  |  |  |  |  |  | End Date/Signature |  |
| ### Lock Out/Tag Out (LOTO) Devices (E.g. Locks, Chains, Clamps, etc.) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| The following steps need to be performed to safely place, remove and transfer LOTO devices to energy isolating devices: ↓ Check box, beside the steps |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 1. Notify all affected personnel (operators of machine equipment, etc) that LOTO procedures will be in effect. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 2. Notify building director if services are to be interrupted |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 3. Identify & isolate energy sources |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 4. Lock and tag |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 5. Test the controls (describe method used) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 6. Perform the work |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| # Re-Energizing Equipment/Machine |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Before start-up of machine/equipment after servicing, complete the following steps: ↓ Check box, beside the steps |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 1. Make sure machine/equipment is in good working order. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 2. Notify all affected personnel that LOTO devices are being removed from equipment/machinery and all personnel are safely positioned away from the equipment/machinery. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 3. Check for and retrieve all loose tools, equipment/machine parts. Reinstall all removed equipment/machine guards. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 4. Remove all LOTO devices (locks, accessories & tags) from energy isolating devices. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 5. Operate the energy isolating devices to restore energy to the equipment/machine. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| ##### N.B. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Supervisor or Delegate or Contractor name and signature required, including all fields in the first box to be completed. |  |  |  |  |  |  |  |  |  | Name: |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  | Signature: |  |  |  |  |  |  |  |